| # Company: | # Wigan Youth Zone | # Task/ Operation: Building Risk Assessment | # Location: Main Building |
| --- | --- | --- | --- |

|  | Wigan Youth Zone – Health & Safety Risk Assessment |  |
| --- | --- | --- |

| Significant Hazard | Who might be harmed and how? | How is the risk controlled? | What further action is required? | Person responsible | Completion date |
| --- | --- | --- | --- | --- | --- |
| Defective flooring Slips Trips Falls Muscular injuries Sprains | Staff Visitors Contractors | Condition of premises regularly checked Prompt maintenance of defects Adequate external lighting Any defective flooring to be reported immediately to facilities Manager | Equipment check Monitor throughout the activities and weather checks | All staff | Continuous |
| Liquid spillages Falls Muscular injuries Sprains | Staff Visitors Contractors | Supervision in use of liquids in premises All spillages to be dealt with immediately Wet floor signs to be used when appropriate Dry mop floors after cleaning up initial spillage Appropriate footwear worn Visitors etc. to be kept away from spill area during cleaning. | Equipment check Monitor throughout the activities and weather checks | All staff | Continuous |
| Items stored in corridor walkways Slips Trips Falls Muscular injuries Sprains | Staff Visitors Contractors | Good housekeeping maintained Regular inspection Ensure bags and coats are not blocking corridors walkways Designated storage areas | Equipment check Monitor throughout the activities and weather checks | All staff Facilities Manager | Continuous |
| Trailing electrical cables Slips Trips falls | Staff Visitors Contractors | Trailing leads kept to a minimum Sufficient outlets to support the range of equipment normally used. Use extension leads and adaptors only where necessary Use of cable covers where cables are a trip hazard Use nearest available socket to reduce need for extension leads | Equipment check Monitor throughout the activities and weather checks | All staff Facilities Manager | Continuous |
| Electrical equipment & sockets Electrocution Electrical burns | Staff Visitors Contractors | Pre-use check conducted by staff Electrical equipment subject to regular safety inspection and test ('PAT testing') last completed 05/02/25 plus rolling additional testing. All tested appliances to be labelled showing date tested next test date Fixed Installation testing completed (5yearly min) and any remedial work actioned next due 07/05/28 and for (3 Year min) Sports Hall hirings 07/05/26 if used. Mains powered portable equipment protected by RCD to distribution board, wall socket or lead in higher risk situations, e.g., equipment used outside or in wet conditions, and for equipment where there is a risk of cables being severed. System for reporting faults and taking equipment out of service in place | Monitor throughout session | All staff Facilities Manager | Continuous |
| Hot Surfaces Hot water from taps | Staff Visitors Contractors | Low surface temperature radiators where young or special needs children are present Hot surfaces in kitchen / server protected and warning signs in place Thermostatic mixing valves fitted to all sinks to which young and special needs guests have access Temperatures monitored (40 deg c max at outlets where vulnerable users have access) Log book now in place water temperatures checked weekly and recorded | Monitor throughout session Ensure signs are in place | All staff Facilities manager | Continuous |
| Open or broken windows Falls cuts injury | Staff Visitors Contractors | Opening limiters fitted to windows above ground floor where risk of falling exists All glazing in vulnerable areas (>250mm wide and up to waist height in internal walls partitions and windows, up to shoulder height in doors) either filmed or safety glazing. All such glazing to be appropriately marked etched. As replacement is necessary glazing to BS 6206 used | Monitor throughout session | All staff Facilities Manager | Continuous |
| Finger trapping Entrapment injury Bruising Crushed fingers | Staff Visitors Contractors | Doors in vulnerable areas have finger guards fitted e.g. classroom and toilet doors used by special need and young guests. Risks from doors in other locations considered Condition of any protective devices fitted monitored All room doors have an access system | Monitor throughout session Review all external gates and internal doors and remedy any crush points where required. | All staff Facilities Manager | Continuous |
| Defective furniture equipment Injury Bangs bumps Muscular injuries | Staff Visitors Contractors | Furniture and fittings must be regularly inspected and defects reported All defective equipment removed from site | Monitor throughout session | All staff Facilities Manager | Continuous |
| Access egress Trips Falls obstructed escape Inadequate lighting of exit routes | Staff Visitors Contractors | Adequate space, circulation routes and emergency exits Entrances and exits are clearly signed and well lit and kept free from obstructions Arrangements in place to ensure access maintained in snowy icy conditions All escape routes should be sufficiently lit for people to see their way out safety Extent of emergency lighting reviewed considering all areas of centre used outside of ambient daylight hours without natural daylight Ensured that all escape routes are adequately lit in event of a power failure Where ambient light is not sufficient torches may be acceptable for trained staff to use | Monitor throughout session | All staff Facilities Manager | Continuous |
| Fire Property damage Smoke inhalation Physical injury Burns | Staff Visitors Contractors | Detailed Fire Risk Assessment conducted and reviewed annually Rubbish not allowed to accumulate and storage areas kept tidy Layout allows for unrestricted movement and safe circulation Staff familiar with evacuation procedure, location of nearest call point Fire exits checked daily for obstruction and ease of opening Fire alarm tested weekly drills conducted Fire exits clearly marked and fire evacuation notices posted throughout site Fire doors checked regularly (self-closures operating doors close freely etc.) All staff know where fire assembly area is located Fire marshals identified before session First aider on site First aid box on site Access and egress to site easily accessible Emergency contact numbers held in reception Gas safety device fitted to all gas appliances | Monitor throughout session | All staff Facilities Manager | Continuous |
| Service cupboards rooms Inappropriate use Electric shock | Staff Visitors Contractors | All such areas to be locked and access restricted to authorised persons Appropriate signage in place No general storage to be kept in such areas Adequate lighting available. Fire equipment detection etc. in place | Monitor throughout session | All staff Facilities Manager | Continuous |
| Inadequate lighting other welfare facilities | Staff Visitors Contractors | Lighting sufficient for tasks Supply of wholesome drinking water Adequate welfare facilities for staff and service users These are maintained in a clean state. Hot water, soap and disposable paper towels provided. Suitable sanitary disposal bins in place within female toilets and arrangements for sanitary waste collection in place. | Monitor throughout session | All staff Facilities Manager | Continuous |
| Poor Water Quality Legionella | Staff Visitors Contractors | Water risk assessment conducted by competent person and water log book completed Centre identifies seldom used outlets and flushes these weekly Showers disinfected / descaled quarterly Tanks / calorifier sterilisation conducted if required Legionella risk assessment has been carried report readily available on request |  | Activity facilitator |  |

| # Assessment compiled by: Anthony Ashworth-Steen Date of assessment: 29/12/2021 # Signature: Jake Worswick # Position: Facilities Manager Assessment review date: 01/12/2022 # Version: 5 # Version 2 Amendments # 29/09/2020 – Version control added to footer # 29/09/2020 – Hazards (first column) updated to reflect risk and potential consequence # Version 3 Amendments # 01/08/2021 - Adding the relevant covid-19 restrictions in line with NYA guidance (v7) # Version 4 Amendments # 02/12/2021 - Adding the relevant covid-19 restrictions in line with NYA guidance (v9) about face-coverings # Version 5 Amendments # 29/12/2021 – Adding relevant Covid-19 measures in place around temperature checks # Version 6 Amendments – Jamie MacDonough – Compliance Education Advisor # 21/10/2025 – Removing Covid-19 measures in place including temperature checks # Additional measure to check for finger entrapment by external gates and internal doors. |  |  |  |
| --- | --- | --- | --- |